| S.No. | Author / Year | Technique / Approach | Dataset / Input | Key Findings | Limitations |
| --- | --- | --- | --- | --- | --- |
| 1 | S. Sundar, 2022 | Low-cost IoT-based system using computer vision and instance segmentation for detection, classification and quantification of microplastics. | Images of microplastic particles captured using a low-cost imaging/IoT setup. | Demonstrated the feasibility of combining low-cost sensing, IoT and instance segmentation for automated microplastic analysis. | Limited by imaging quality, dataset size and the difficulty of distinguishing microplastics from visually similar particles in real environmental samples. |
| 2 | M. Valentino et al., 2022 | Digital holographic imaging for intelligent monitoring of microplastics in marine water. | Digital holographic images of particles in marine-water environments. | Demonstrated the potential of holographic imaging for detecting and characterizing particles without conventional physical collection. | Holographic instrumentation is more complex than conventional microscopy; computational processing and practical field deployment remain challenging. |
| 3 | G. Gugliandolo et al., 2022 | Low-cost digital microscope + single-board computer + LCD, using transmitted-light measurement for plastic identification/classification. | Samples of PP, PVC, PC and PE, together with organic algae samples. | Demonstrated a compact, low-cost measurement system and tested it against several plastic materials and algae. (Unifind) | Proof-of-concept study; limited number of materials/samples and not demonstrated as a comprehensive automated real-world monitoring system. |
| 4 | C. Bescond et al., 2024 | Ultrasound and photoacoustic technology for in-situ detection and imaging of microplastics in water. | Microplastic particles/water samples investigated using acoustic and photoacoustic signals. | Explores a non-contact/in-situ sensing route that could overcome some limitations of laboratory-only methods. | Technology is relatively complex; system calibration, sensitivity to particle properties and practical field validation remain challenges. |
| 5 | J.-H. Fournier-Lupien et al., 2024 | Raman spectroscopy + Machine Learning for in-situ microplastic identification. | Raman spectra/signatures of microplastic materials. | Raman provides chemical fingerprints while ML can automate identification; study investigates integration toward real-time/in-situ identification. (ResearchGate) | Raman systems are considerably more complex/costly than simple optical imaging; fluorescence, water conditions and spectral variability can affect measurements. |
| 6 | R. Muthu & A. Geetha, 2024 | Generative Adversarial Networks (GANs) for microplastic identification in seawater. | Seawater/sediment microplastic samples and image/data representations; GAN-based approach. | Investigates GANs as an AI approach for improving automated microplastic identification; highlights difficulties caused by small and translucent particles. (ResearchGate) | GAN training can be computationally demanding; generated samples may not fully represent real environmental variability. |
| 7 | H. Rezvani et al., 2024 | Deep-learning-based object detection and classification of micro- and nanoplastics using morphological information. | MiNa dataset consisting of SEM images of micro/nanoplastics under realistic aquatic conditions, with different polymer types and sizes. (arXiv) | Introduced an open-source dataset specifically intended for automated detection/classification and demonstrated the use of object-detection algorithms. | SEM images are not equivalent to low-cost optical microscope images; domain shift between laboratory SEM data and field-acquired images remains a major concern. |
| 8 | J.-H. Fournier-Lupien & C. Bescond, 2025 | Acoustic imaging + Deep Neural Network for estimating microplastic particle size. | Acoustic images/signals from microplastic particles. | Demonstrates the possibility of combining acoustic imaging with deep learning for automated particle sizing. | Acoustic imaging is less straightforward to integrate into a low-cost optical microscope; limited publicly available information/data and real-world validation. |
| 9 | I. Abimbola et al., 2025 | Digital holographic imaging + Machine/Deep Learning for microplastic size and shape analysis. | Holographic images of microplastics suspended in water; MobileNetV2 and ResNet101 used for shape classification. | Portable holographic imaging was used to capture particles; MobileNetV2 outperformed ResNet101 in classification accuracy and computational efficiency. (ScienceDirect) | Requires holographic imaging hardware; generalization to different water conditions and conventional microscopic images requires further validation. |
| 10 | R. Marwah et al., 2025 | MicroDetect-Net (MDN) using fluorescence microscopy, Nile Red staining and CNN-based segmentation. | 276 Nile-Red-stained fluorescent blood images containing microplastic fragments. | Reported 92% accuracy, IoU of 87.4%, F1-score of 92.1%, precision of 90.6% and recall of 93.7%. (arXiv) | Dataset is small and based on clam blood rather than environmental water; Nile Red fluorescence requires additional sample preparation and imaging equipment. |
| 11 | B. de Vargas Guterres et al., 2026 | Zero-plastic, an AI-assisted flow-imaging microscopy prototype using embedded computing and AI-based segmentation. | Controlled polystyrene microspheres, primarily 3–20 μm; optical system designed for 3–200 μm. | Developed a low-cost prototype using a Raspberry Pi 4B/IMX477 imaging subsystem and NVIDIA Jetson-based AI processing. Demonstrated comparison with SEM and automated particle-size estimation. (Springer) | Validation was primarily under controlled laboratory conditions using spherical PS particles; the authors explicitly describe it as a lab-based prototype rather than a field-ready instrument. Distinguishing MPs from debris/biological particles remains an open problem. (Springer) |
| 12 | J. Appel et al., 2026 | Explainable Deep Learning + polarization-resolved digital holographic microscopy for microplastic/natural microfiber classification. | 296 fibers covering six material classes including PA6, PET, PA6.6, PP, cotton and wool; 72-dimensional polarization features. | Fully connected DNN achieved 96.7% validation accuracy; SHAP analysis identified dominant polarization features and a reduced-feature model retained 93.3% accuracy. (PubMed) | Specialized polarization-resolved holographic hardware and feature extraction are complex; dataset is relatively small and focused specifically on fibers. |
| 13 | S. Primpke et al., 2017 | Automated FPA μFTIR microscopy + image analysis. | FTIR mapping data from microplastics enriched on membrane filters; datasets containing up to 1.8 million spectra were analyzed. | Automated spectral matching and image analysis reduced analysis time and provided particle number and size information for detected polymers. (Royal Society of Chemistry Publishing) | Requires expensive FTIR microscopy and specialized instrumentation; automation can introduce false negatives and remains laboratory-oriented. (ScienceDirect) |
| 14 | L. Käppler et al., 2016 | Comparative FTIR and Raman vibrational microspectroscopy for environmental microplastics. | Environmental microplastic samples analyzed using vibrational spectroscopy. | Demonstrated the usefulness of FTIR and Raman for chemical identification and comparison of spectroscopic approaches. (PubMed) | Spectroscopic systems are more expensive and technically demanding than simple image-based approaches; sample preparation and spectral interpretation are required. |
| 15 | T. Cowger et al., 2021 | Spectral classification / Open Specy for Raman and infrared microplastic identification. | Raman and FTIR spectra contributed to an open spectral library. | Highlighted the lack of adequate spectral libraries and introduced Open Specy as an open-source solution for processing, sharing and identifying spectra. (PubMed) | Spectral matching accuracy depends strongly on library coverage; environmental plastic diversity is not fully represented. |
| 16 | Y. LeCun, Y. Bengio & G. Hinton, 2015 | Deep Learning — review of multi-layer representation learning, particularly CNNs. | Large-scale image, speech and other datasets; not a microplastic dataset. | Established the importance of deep hierarchical feature learning and CNNs for visual recognition and object detection. (Nature) | General deep-learning framework rather than a microplastic-specific solution; computational and data requirements can be significant. |
| 17 | K. He et al., 2016 | ResNet / residual learning for deep image recognition. | ImageNet and CIFAR-10; also evaluated for object detection. | Residual connections allowed much deeper networks to be trained effectively; ResNet achieved strong image-recognition and detection performance. (Microsoft) | Deep ResNet models can be computationally heavy for low-cost Edge devices; may be excessive for a small microplastic dataset. |
| 18 | A. Howard et al., 2017 | MobileNet, using depthwise-separable convolutions for lightweight vision. | ImageNet and multiple vision tasks. | Designed specifically for mobile/embedded applications, providing a controllable accuracy–latency trade-off. (arXiv) | Lightweight models may sacrifice some accuracy compared with larger networks; performance depends strongly on dataset and hardware. |
| 19 | J. Redmon et al., 2016 | YOLO single-stage real-time object detection. | PASCAL VOC and other object-detection benchmarks. | Performs detection and classification in a single network; original YOLO demonstrated real-time processing and high speed. (Open Access CVF) | Original YOLO had greater localization errors than some competing detectors, particularly for small objects—an important concern for tiny microplastics. (Open Access CVF) |
| 20 | O. Ronneberger et al., 2015 | U-Net encoder–decoder architecture for pixel-level segmentation. | Biomedical microscopy datasets including EM segmentation and cell-tracking images. | Strong localization and segmentation performance with relatively few training images; extensive data augmentation improves training efficiency. (lmb.informatik.uni-freiburg.de) | Originally designed for biomedical segmentation rather than microplastics; pixel-level annotation is time-consuming. |
| 21 | K. He et al., 2017 | Mask R-CNN for object detection + instance segmentation. | COCO object-detection/segmentation benchmark. | Detects objects while generating an individual segmentation mask for each object; useful when separate microplastic particles must be counted and measured. (Open Access CVF) | Computationally heavier than lightweight detectors; original implementation achieved around 5 fps, making direct low-cost Edge deployment challenging. (Open Access CVF) |
| 22 | A. Kirillov et al., 2023 | Segment Anything Model (SAM) / promptable foundation-model segmentation. | SA-1B: over 1 billion masks from 11 million images. (Open Access CVF) | Demonstrated general-purpose, promptable segmentation and strong transfer to new image distributions. | Developed for general images, not microplastics; large foundation-model requirements can make direct Edge deployment difficult. |
| 23 | A. Dosovitskiy et al., 2021 | Vision Transformer (ViT) using image patches and self-attention. | ImageNet, CIFAR-100 and other image-recognition benchmarks. | Demonstrated that pure Transformer architectures can perform strongly for image classification when pretrained on large datasets. (Google Research) | Typically benefits from large-scale pretraining/data; computational requirements make it less immediately attractive for a low-cost Edge system. |
| 24 | M. Tan & Q. Le, 2019 | EfficientNet with compound scaling of network depth, width and input resolution. | ImageNet, CIFAR-100 and transfer-learning datasets. | Achieved strong accuracy while improving parameter and computational efficiency through balanced scaling. (Google Research) | Larger EfficientNet variants can still be computationally demanding; the smallest model must be selected carefully for Edge deployment. |
| 25 | I. Goodfellow et al., 2014 | Generative Adversarial Networks (GANs) using generator–discriminator adversarial training. | Image-generation experiments; not microplastic-specific. | Established GANs as a method for learning data distributions and generating synthetic samples, making the approach potentially useful for data augmentation. (NeurIPS Proceedings) | GAN training can be unstable and computationally demanding; synthetic images may introduce unrealistic features if not carefully validated. |